## Problem 1
El1 | 350 | ft | D1 | 1 | ft | L1 | 130 | ft | K1 | 0.06545 | s/ft2 | f | 0.02
El2 | 350 | ft | D2 | 1 | ft | L2 | 130 | ft | K2 | 0.06545 | s/ft2
El4 | 500 | ft | D3 | 1.5 | ft | L3 | 10000 | ft | K3 | 0.66299 | s/ft2
El5 | 475 | ft | D4 | 1.25 | ft | L4 | 10000 | ft | K4 | 1.6497 | s/ft2
Elp1 | 315 | ft | D5 | 0.83333 | ft | L5 | 10000 | ft | K5 | 12.5277 | s/ft2
Elp2 | 400 | ft
Z function - maximize
Q1 | 7.665 | cfs | Hp1 | 242.2856 | ft | Qt | 45.9901 | cfs
Q2 | 7.665 | cfs | Hp2 | 327.2856 | ft
Q3 | 15.33 | cfs | HL | 155.8098 | ft
Q4 | 11.4302 | cfs
Q5 | 3.8999 | cfs
Hp1 + Hp2 | 569.5711 | = | 569.5711 | ΣkQ2
Q3 | 15.33 | = | 15.33 | Q1+Q2
Q3 | 15.33 | = | 15.33 | Q4+Q5
HGL 2,4 | 284.4647 | = | 284.4647 | HGL 2,5
HGL 1,1 | 346.1547 | = | 346.1547 | HGL 1,2

## Problem 2-A
El0 | 745 | ft | D01 | 1.25 | ft | L01 | 2400 | ft | K01 | 0.43553 | s/ft2 | Q01 | 20 | cfs | H0 | 0 | ft | HL01 | 174.3888 | ft | f | 0.022 |  | 1 | 3000 | $
El1 | 745 | ft | D12 | 2.7409 | ft | L12 | 2400 | ft | K12 | 0.0085917 | s/ft2 | Q12 | 20 | cfs | H1 | 818.6537 | ft | HL12 | 3.4402 | ft |  |  |  | 12 | 6578.2264 | $
El2 | 740 | ft | D23 | 2.7409 | ft | L23 | 2400 | ft | K23 | 0.0085918 | s/ft2 | Q23 | 20 | cfs | H2 | 815.2135 | ft | HL23 | 3.4402 | ft | D AVAIL | 8 | in | 23 | 6578.215 | $
El3 | 745 | ft | D34 | 1.7376 | ft | L34 | 2400 | ft | K34 | 0.083909 | s/ft2 | Q34 | 10 | cfs | H3 | 811.7733 | ft | HL34 | 8.3994 | ft | D AVAIL | 15 | in | 34 | 4170.2625 | $
El4 | 748 | ft | D45 | 1.7387 | ft | L45 | 2400 | ft | K45 | 0.083654 | s/ft2 | Q45 | 10 | cfs | H4 | 803.3739 | ft | HL45 | 8.3739 | ft | D AVAIL | 21 | in | 45 | 4172.798 | $
El5 | 753 | ft | D36 | 2.0694 | ft | L36 | 2400 | ft | K36 | 0.035026 | s/ft2 | Q36 | 10 | cfs | H5 | 795 | ft | HL36 | 3.5062 | ft | D AVAIL | 30 | in | 36 | 4966.4456 | $
El6 | 745 | ft | D68 | 2.9847 | ft | L68 | 2400 | ft | KL68 | 0.0056116 | s/ft2 | Q68 | 30 | cfs | H6 | 808.2671 | ft | HL68 | 5.0556 | ft |  |  |  | 68 | 7163.2075 | $
El7 | 751 | ft | D87 | 1.671 | ft | L87 | 2400 | ft | K87 | 0.10201 | s/ft2 | Q87 | 10 | cfs | H7 | 793 | ft | HL87 | 10.2115 | ft | Cost of Pipe | 1 | ft-in | 87 | 4010.4653 | $
El8 | 747 | ft | D89 | 1.5235 | ft | L89 | 2400 | ft | K89 | 0.16195 | s/ft2 | Q89 | 10 | cfs | H8 | 803.2115 | ft | HL89 | 16.2115 | ft | Cost of P1 | 380 | ft | 89 | 3656.3533 | $
El9 | 745 | ft | D8_10 | 1.8801 | ft | L8_10 | 2400 | ft | K8_10 | 0.056583 | s/ft2 | Q8_10 | 10 | cfs | H9 | 787 | ft | HL8_10 | 5.664 | ft | Cost of P2/P3 | 320 | ft | $8_10 | 4512.1978 | $
El10 | 752 | ft | D10_11 | 3 | ft | L10_11 | 2400 | ft | K10_11 | 0.0054697 | s/ft2 | Q10_11 | 10 | cfs | H10 | 797.5475 | ft | HL10_11 | 0.54752 | ft |  |  |  | $10_11 | 7200 | $
El11 | 755 | ft | [12 empty] | H11 | 797 | ft
[12 empty] | Z function - minimize |  |  | Hp1 | 993.0425 | ft
H1 | 818.6537 | < | 865 | D01 | 1.25 | ≥ | 0.66667 |  |  |  |  | Cost | 430364.3285 | $ | Hp2 | 0 | ft
H2 | 815.2135 | < | 860 | D12 | 2.7409 | ≥ | 0.66667 | [7 empty] | Hp3 | 0 | ft
H3 | 811.7733 | < | 865 | D23 | 2.7409 | ≥ | 0.66667
H4 | 803.3739 | < | 868 | D34 | 1.7376 | ≥ | 0.66667
H8 | 803.2115 | < | 867 | D45 | 1.7387 | ≥ | 0.66667
H5 | 795 | ≥ | 795 | D36 | 2.0694 | ≥ | 0.66667
H6 | 808.2671 | ≥ | 787 | D68 | 2.9847 | ≥ | 0.66667
H7 | 793 | ≥ | 793 | D87 | 1.671 | ≥ | 0.66667
H9 | 787 | ≥ | 787 | D89 | 1.5235 | ≥ | 0.66667
H10 | 797.5475 | ≥ | 794 | D8_10 | 1.8801 | ≥ | 0.66667
H11 | 797 | ≥ | 797 | D10_11 | 3 | ≤ | 3
|  |  |  | D01 | 1.25 | ≤ | 3
|  |  |  | D12 | 2.7409 | ≤ | 3
|  |  |  | D23 | 2.7409 | ≤ | 3
|  |  |  | D34 | 1.7376 | ≤ | 3
|  |  |  | D45 | 1.7387 | ≤ | 3
|  |  |  | D36 | 2.0694 | ≤ | 3
|  |  |  | D68 | 2.9847 | ≤ | 3
|  |  |  | D87 | 1.671 | ≤ | 3
|  |  |  | D89 | 1.5235 | ≤ | 3
|  |  |  | D8_10 | 1.8801 | ≤ | 3
|  |  |  | D10_11 | 3 | ≤ | 3

## Problem 2-B Table
| Continuous |  |  | Standard |  |  | Pump Head | Continuous | Standard | My approach to finding standard sizes for pipe diameters was to convert each diameter to its closest standard size. If the continuous value was in the middle then I went for the lower value to hopefully save cost. I then looked at each head value that was not in spec and if it was too high then I used a smaller diameter to create more head loss and if it was too low I increased the diameter to decrease head loss. For node 1 this didn't work and I had to lower the pump head to get an in-spec value
Pipe / Node | D (ft) | H (ft) | Cost ($) | D (ft) | H (ft) | Cost ($) | Hp1 (ft) | 1395.6506 | 1025
0_1 / 1 | 1 | 863.4581 | 2400 | 1.25 | 850.6112 | 3000 | Hp2 (ft) | 0 | 0
1_2 / 2 | 2.7381 | 860 | 6571.4047 | 2.5 | 845.1615 | 6000 | Hp3 (ft) | 0 | 0
2_3 / 3 | 2.1076 | 847.2029 | 5058.2742 | 2.5 | 839.7119 | 6000
3_4 / 4 | 1.3843 | 821.0302 | 3322.3347 | 1.25 | 796.1147 | 3000
4_5 / 5 | 1.3858 | 795 | 3325.9639 | 3 | 795.5671 | 7200
3_6 /6 | 1.5671 | 833.1268 | 3761.1157 | 1.75 | 831.6056 | 4200
6_8 / 7 | 3 | 793 | 7200 | 3 | 818.5717 | 7200
8_7 / 8 | 1.3047 | 828.1991 | 3131.1707 | 1.75 | 826.6779 | 4200
8_9 / 9 | 1.2642 | 787 | 3034.1392 | 1.75 | 818.5717 | 4200
8_10 / 10 | 1.3413 | 797.5475 | 3219.0113 | 1.75 | 818.5717 | 4200
10_11 / 11 | 3 | 797 | 7200 | 3 | 818.0242 | 7200
Total Cost ($) |  |  | 578570.6234 |  |  | 445900

## Problem 2-C
El0 | 745 | ft | D01a | 1.25 | ft | D01b | 1.25 | ft | L01a | 0 | ft | L01b | 2400 | ft | Q01 | 20 | cfs | H0 | 0 | ft | HL01 | 174.3888 | ft | f | 0.022 |  | 1 | 3000 | $
El1 | 745 | ft | D12a | 2.5 | ft | D12b | 3 | ft | L12a | 0 | ft | L12b | 2400 | ft | Q12 | 20 | cfs | H1 | 808.8488 | ft | HL12 | 2.1901 | ft |  |  |  | 12 | 6000 | $
El2 | 740 | ft | D23a | 2.5 | ft | D23b | 3 | ft | L23a | 0 | ft | L23b | 2400 | ft | Q23 | 20 | cfs | H2 | 806.6587 | ft | HL23 | 2.1901 | ft | D AVAIL | 8 | in | 23 | 6000 | $
El3 | 745 | ft | D34a | 1.75 | ft | D34b | 1.75 | ft | L34a | 0 | ft | L34b | 2400 | ft | Q34 | 10 | cfs | H3 | 804.4686 | ft | HL34 | 8.1062 | ft | D AVAIL | 15 | in | 34 | 4200 | $
El4 | 748 | ft | D45a | 1.75 | ft | D45b | 2.5 | ft | L45a | 0 | ft | L45b | 2400 | ft | Q45 | 10 | cfs | H4 | 796.3624 | ft | HL45 | 1.3624 | ft | D AVAIL | 21 | in | 45 | 4200 | $
El5 | 753 | ft | D36a | 1.75 | ft | D36b | 2.5 | ft | L36a | 0 | ft | L36b | 2400 | ft | Q36 | 10 | cfs | H5 | 795 | ft | HL36 | 1.3624 | ft | D AVAIL | 30 | in | 36 | 4200 | $
El6 | 745 | ft | D68a | 3 | ft | D68b | 3 | ft | L68a | 2400 | ft | L68b | 0 | ft | Q68 | 30 | cfs | H6 | 803.1062 | ft | HL68 | 4.9277 | ft |  |  |  | 68 | 7200 | $
El7 | 751 | ft | D87a | 1.25 | ft | D87b | 1.75 | ft | L87a | 307.5163 | ft | L87b | 2092.4837 | ft | Q87 | 10 | cfs | H7 | 793 | ft | HL87 | 12.6537 | ft | Cost of Pipe | 1 | ft-in | 87 | 3000 | $
El8 | 747 | ft | D89a | 1.25 | ft | D89b | 1.75 | ft | L89a | 713.2531 | ft | L89b | 1686.7469 | ft | Q89 | 10 | cfs | H8 | 805.6537 | ft | HL89 | 18.6537 | ft | Cost of P1 | 380 | ft | 89 | 3000 | $
El9 | 745 | ft | D8_10a | 1.75 | ft | D8_10b | 1.75 | ft | L8_10a | 0 | ft | L8_10b | 2400 | ft | Q8_10 | 10 | cfs | H9 | 787 | ft | HL8_10 | 8.1062 | ft | Cost of P2/P3 | 320 | ft | $8_10 | 4200 | $
El10 | 752 | ft | D10_11a | 3 | ft | D10_11b | 3 | ft | L10_11a | 2400 | ft | L10_11b | 0 | ft | Q10_11 | 10 | cfs | H10 | 797.5475 | ft | HL10_11 | 0.54752 | ft |  |  |  | $10_11 | 7200 | $
El11 | 755 | ft | [15 empty] | H11 | 797 | ft
[9 empty] | Z function - minimize |  |  | Hp1 | 983.2377 | ft
H1 | 808.8488 | < | 865 | L01 a + b | 2400 | = | 2400 |  | Cost | 428222.3816 | $ | Hp2 | 0 | ft
H2 | 806.6587 | < | 860 | L12 a + b | 2400 | = | 2400 |  |  |  |  | Hp3 | 7.4752 | ft
H3 | 804.4686 | < | 865 | L23 a + b | 2400 | = | 2400
H4 | 796.3624 | < | 868 | L34 a + b | 2400 | = | 2400
H8 | 805.6537 | < | 867 | L45 a + b | 2400 | = | 2400
H5 | 795 | ≥ | 795 | L36 a + b | 2400 | = | 2400
H6 | 803.1062 | ≥ | 787 | L68 a + b | 2400 | = | 2400
H7 | 793 | ≥ | 793 | L87 a + b | 2400 | = | 2400
H9 | 787 | ≥ | 787 | L89 a + b | 2400 | = | 2400
H10 | 797.5475 | ≥ | 794 | L810 a + b | 2400 | = | 2400
H11 | 797 | ≥ | 797 | L1011 a + b | 2400 | = | 2400

## Problem 2-C Table
| Standard | [5 empty] | Pump Head | Standard
Pipe / Node | D_a (ft) | D_b (ft) | L_a (ft) | L_b (ft) | H (ft) | Cost ($) | Hp1 (ft) | 983.2377
0_1 / 1 | 1.25 | 1.25 | 0 | 2400 | 808.8488 | 3000 | Hp2 (ft) | 0
1_2 / 2 | 2.5 | 3 | 0 | 2400 | 806.6587 | 6000 | Hp3 (ft) | 7.4752
2_3 / 3 | 2.5 | 3 | 0 | 2400 | 804.4686 | 6000
3_4 / 4 | 1.75 | 1.75 | 0 | 2400 | 796.3624 | 4200
4_5 / 5 | 1.75 | 2.5 | 0 | 2400 | 795 | 4200
3_6 /6 | 1.75 | 2.5 | 0 | 2400 | 803.1062 | 4200
6_8 / 7 | 3 | 3 | 2400 | 0 | 793 | 7200
8_7 / 8 | 1.25 | 1.75 | 307.5163 | 2092.4837 | 805.6537 | 3000
8_9 / 9 | 1.25 | 1.75 | 713.2531 | 1686.7469 | 787 | 3000
8_10 / 10 | 1.75 | 1.75 | 0 | 2400 | 797.5475 | 4200
10_11 / 11 | 3 | 3 | 2400 | 0 | 797 | 7200
[5 empty] | Total Cost ($) | 428222.3816